Docket for 8/13/2020, 10:00 AM    Judge:Schodosky, Renee
	# of
Ticket #	Issue Dept	Cont	Respondent Name	Violation Dt	Occurrence Address	Issuer	Violations
	19-0000061	Building	*	Cardenas, Jose L	1/15/2019	1620 DARROW AVENUE	Williams, Scott	1
	Cardenas, Enedelia, Respondent	1620 Darrow Ave., Evanston, IL 60201
	Violation(s)	R-105.1	Permits
	Required.  Any owner or authorized agent who intends to construct, enlarge, alter, repair, move, demolish, or change the occupancy of a building or 
	structure, or to erect, install enlarge, alter, repair, remove, convert or replace any electrical, gas, mechanical or plumbing system, the installation of 
	which is regulated by this code, or to cause any such work to be done, shall first make application to the building official and obtain the required permit.
_________________________________________________________________________________________________________________________________________________________________
	20-0015187	Fire	Kingston Grill, 	6/2/2020	1164 DODGE AVENUE	Taylor, Timothy	4
	Violation(s)	F315.3.1	Ceiling clearance.  Storage shall be maintained 2 feet (610 mm) or more below the ceiling in nonsprinklered areas of buildings or a minimum of 18 inches 	F609.3.3.2	Grease accumulation.  If during the inspection it is found that hoods, grease removal devices, fans, ducts or other appurtenances have an accumulation	F609.3.4	Extinguishing system service. Automatic fire extinguishing systems protecting commerial cooking systems shall be serviced as required in Section 
	(457 mm) below sprinkler head deflectors in sprinklered areas of buildings.	 of grease, such components shall be cleaned.
Count:	2